Dental IR(ME)R Procedures (1)

For Dental Practices where dentists always undertake their own dental radiographs

It is intended that these procedures are to be read in conjunction with the associated document, IR(ME)R, an Explanation Guide for Dental Practices. This explanation guide contains a summary of the legislation and outlines the requirements of the Regulations.

All the suggested text and examples must be carefully adapted to ensure they match local practice. Any text displayed in red will need to be carefully considered to demonstrate local ownership and practice. The most successful way to write IR(ME)R procedures is to think about what happens within the practice and start by writing down ‘what you do’. Procedures should standardise practice and ensure that all dental staff are working to the same standards.

| ## XXXX Dental Practice Employers Procedures Written Procedures for Medical Exposures |  |
| --- | --- |
| ## Author | ## Named person |
| Version No. | ## 1 |
| ## Authorised by | ## Signature of Employer |
| Implementation Date | ## 01/01/2012 |
| ## Reviewer | ## Named Person |
| Next Review Date | ## 01/01/2015 |

IR(ME)R Employer’s procedures

| Document No. | Title of Procedure | Page No. |
| --- | --- | --- |
| EP1 | Entitlement and training of Duty Holders | 4 |
| EP2 | Referrals for Dental examinations | 7 |
| EP3 | Justification and Authorisation | 8 |
| EP4 | Patient Identification | 9 |
| EP5 | Pregnancy Enquiries | 11 |
| EP6 | Assessment of Patient Dose | 12 |
| EP7 | Diagnostic Reference Levels | 13 |
| EP8 | Clinical Evaluation | 14 |
| EP9 | Reducing the Probability and Magnitude of unintentional exposures (inc. incident reporting) | 15 |
| EP10 | Document Quality assurance | 17 |
| EP11 | Audit | 19 |
| EP12 | Research Exposures | 20 |
| EP13 | Medico- Legal and Occupational Exposures | 21 |

| EP 1 | ## Entitlement and Training of Duty Holders | XXXXX Dental Practice |
| --- | --- | --- |

- The process of entitlement

# The employer will ensure that structures are in place for entitlement of IR(ME)R duty holders, and will maintain records of agreed qualifications, experience and training required for individuals to perform the roles of duty holders for all types of dental exposures (Appendix 1).

Entitlement is demonstrated by (named person or employer) (the Entitler) signing an individual’s competence document (Appendix 2) on behalf of the employer.  The Entitler must decide whether the evidence presented is sufficient for each individual to be entitled in the role of practitioner, operator, and/or referrer for dental exposures. Duty holders themselves must have agreed and signed this document as well. If this is the same person it will only be signed once as the Entitler. The agreed competence for each individual will create their own scope of entitlement which they must adhere to.

(named person, employer or job title) will agree the range of tasks to be included in the competence document for staff under their management, which is appropriate and supported by verifiable training and experience, and this will define the duty holder’s scope of practice. (For Dental Practices with multiple sites, it may be appropriate for the Lead Person at each site to assess their staff’s competence and then provide this information to the employer or named person for entitlement).

The competence document will evolve and be updated as an individual’s scope of entitlement changes without the need to be resigned by the Entitler.

Competence will be assessed for each practitioner and operator by an appropriately trained person.  A Competence assessor may assess their own competence.

The Medical Physics Expert (MPE) will be entitled on appointment. They should only be appointed if they are adequately trained for this specific role.

Medical Physicists/Technologists will be entitled as an operator and their training records must be provided to the employer on request.

Practitioners and operators must comply with the employer’s procedures.

Practices that accept referrals from other practices, e.g. for CBCT, will need to entitle the dentists at the other practices as referrers and also potentially as operators for clinical evaluation depending on who will be undertaking the clinical evaluation (see section 2.2 of the explanation guide).

- Training and education requirements

The employer will maintain an up-to-date record of qualifications, training, and tasks for each entitled practitioner and operator.

Each duty holder is responsible for maintaining their own personal training record containing their evidence of training and continuing professional development.

Each duty holder’s personal portfolio should demonstrate the nature of any training and the date on which training was completed. For registration with the GDC, verifiable radiation protection training is required, currently 5 hours in any 5 year period.

Annual appraisals will include checks of ongoing relevant professional education are undertaken for each duty holder by the duty holder’s line manager. Each duty holder should provide their own personal training records for this appraisal to ensure that a maintained competence for each duty holder role can be demonstrated.

## (named person, employer or job role) must check the registration for all referrers and practitioners on an annual basis. A record of such registration and the date checked is held within the individual’s competence document.

On induction and with the implementation of any new radiation equipment or equipment software, there must be associated training which must be documented within the duty holder’s training record. Their scope of practice should be assessed by a competence assessor.

Practitioners and operators shall satisfy themselves that they have appropriate training and experience to undertake duties that they are entitled to perform. They must not carry out any duty for which they have not been trained and entitled.

Where the employer enters into a contract with another to engage a practitioner or operator (e.g. agency staff or MPE), the latter (e.g. MPE) shall be responsible for keeping their training records.

Any students or other trainees may undertake any aspect of the duty for which they are being trained provided if this is done under the supervision of a person who is themselves adequately trained and entitled for that duty.

This is expected to be ‘direct’ supervision and the supervisor shall take responsibility for the activity as if they had carried it out themselves.

Appendix 1

Agreed qualifications, experience and training required for individuals to perform each duty holder role

| Registrant Group | IR(ME)R Duty Holder | Qualifications/Training/Experience required |
| --- | --- | --- |
| Dentist | Referrer | Registration with GDC with additional training if requesting CBCT |
|  | Practitioner | Registration with GDC and undergraduate dental degree |
|  | Operator | Undergraduate dental degree and local equipment training |
| Dental Nurse | Operator | Diploma or certificate in Dental nursing and local equipment training |
| Medical Physics Expert | Operator | Science degree or equivalent Experience in the application of physics, within dental use of ionising radiation Clear appointment to this role |
| Medical Physicist/Technologists | Operator | Appropriate qualification |

Appendix 2

Example Tasks for entitlement as a Duty Holder under IR(ME)R at XXXXX Practice

| Name of Duty Holder | Job Title |
| --- | --- |
| Qualification(s) and date obtained |  |
| Registration Number | Date last checked |

| Referrer tasks at XXXXX Practice | Assigned as competent Date & signature/initials of duty holder |
| --- | --- |
| Refer for all dental examinations (excluding CBCT) |  |
| Refer for Cone Beam CT dental examinations |  |

| Practitioner tasks at XXXXX Practice | Assigned as competent Date & signature/initials of duty holder |
| --- | --- |
| Competent to justify requests for all dental examinations |  |
| Competent to justify requests for cone Beam CT dental examinations |  |

| Operator tasks at XXXXX Practice | Assigned as competent Date & signature/initials of duty holder and assessor |  |
| --- | --- | --- |
| Competent to carry out patient identification |  |  |
| Competent to undertake all dental examinations |  |  |
| Competent to undertake OPT/Lat Ceph exposures |  |  |
| Competent to undertake cone beam CT exposures |  |  |
| Competent to process dental films |  |  |
| Competent to process digital images |  |  |
| Competent to change chemicals in a dental processor |  |  |
| Competent to clinically evaluate all dental examinations undertaken at practice |  |  |
| Competent to clinically evaluate all dental examinations undertaken outwith the practice |  |  |
| Competent to clinically evaluate cone beam CT dental examinations |  |  |
| Competent to carry out quality assurance on equipment |  |  |
| Entitled by |  | Date |
| Name of Entitler |  | Date |
| Signature of Duty Holder (DH) |  | Date |
| IR(ME)R procedures read by DH |  | Date |

| EP 2 | ## Referrals for Dental examinations | XXXXX Dental Practice |
| --- | --- | --- |

### 1.	The process of referral

- A clinical assessment of every patient’s dental anatomy should be performed prior to requesting any radiographs.

#### 1.1	When the referrer is also the practitioner and operator

Where the referrer also acts as the practitioner and operator for a dental exposure, he/she must ensure that the request for the radiograph is documented within the patient’s dental record/patients notes page on R4. Within this record the clinical indications for the radiograph should be clear, fit with the referral criteria and the referrer must be identifiable.

##### 1.2	Referring to another dental practice or hospital

If a referral to carry out the dental radiograph (e.g. OPG or CBCT) is made to an external site then a request card/referral form/letter must be completed legibly by the referrer in line with the external sites procedures.

1.3	Accepting referrals from another dental practice

The following essential information is required on each request card/referral form/letter:

  - Patients full name, date of birth and address

  - Dental Examination requested

  - Sufficient clinical information relevant to the dental exposure requested

  - Signature of Referrer

  - Name of Referrer (Printed)

  - Date of referral

- Patient contact telephone number (if relevant and available)

2.	Referral criteria

The referral criteria used at this Practice are The Faculty of General Dental Practitioners “Selection Criteria for Dental Radiography”/British Orthodontic Society’s – Orthodontic Guidelines/local referral criteria and copies of this document are made available to the referrers in each room/personal copy.

| EP 3 | ## Justification and Authorisation | XXXXX Dental Practice |
| --- | --- | --- |

### The process for justification and authorisation

If the practitioner is aware, at the time of the authorisation, that a recorded clinical evaluation of the radiograph will not be undertaken, the exposure is not justified and cannot be undertaken.

#### 1.1	When the referrer is also the practitioner and operator

As the dentist is acting as both entitled referrer and IR(ME)R practitioner, the referrer’s signature/ electronic personal code in the clinical notes will demonstrate authorisation of the exposure.

  - Where the practitioner is not the referrer

If the referrer is entitled as a referrer but not practitioner (e.g. dentist from another dental practice), the request for a dental radiograph must be justified and authorised by an entitled Practitioner.

The practitioner must initial or sign the referral (state where on the referral or electronic record) to demonstrate authorisation if they are satisfied that the exposure is justified.

2. 	Special attention for justification

Special attention for justification is required for the following types of exposure

- exposures on medico-legal grounds

- exposures that have no direct benefit for the individuals undergoing the exposure

It is unlikely that special attention needs to be given to these groups during the justification of dental exposures. However they will need to be considered if these exposures are undertaken at the dental practice. If they are not carried out then delete this section

3.	Special circumstances regarding authorisation

Authorisation should be carried out in advance of any dental exposure.

However, it has been recognised that in some specific exceptional circumstances, it may not be feasible for a dentist to carry out authorisation in advance of an exposure. This may occur during treatments where it is not in the best interests of the patient for the dentist to leave them to document the authorisation in the patient’s dental record e.g. an unplanned radiograph due to a complication mid-procedure.

Should this situation arise then the dentist justifying the exposure should be present in the room whilst the radiograph is carried out and authorisation of the exposure must occur as soon as possible within the same episode of care.

This deviation from normal procedure should be documented within the patient’s dental record by the dentist.

| EP 4 | ## Patient Identification | XXXXX Dental Practice |
| --- | --- | --- |

### 1.	The process for patient identification

The operator who undertakes the exposure is responsible for ensuring that the correct patient receives the correct examination.

#### 1.1	When the patient is already in the dental chair

When the patient is already in the dental chair it is not practical, or suggested, that they should be asked to formally identify themselves again.

When a patient is called into the dental examination room their identity should be confirmed prior to the dental examination starting using the method outlined in 1.2. If an operator, other than the dentist, e.g. dental nurse, carries out this identification there should be a verbal handover confirming ID to the dentist prior to the clinical examination starting.

For follow up patients, a dental chart would also be held which may act as an additional check to ensure that the person being examined is the correct patient.

In this situation if the referrer, practitioner and operator are the same person, then the operator may be confident that they have the correct patient for the correct radiograph. If another operator already in the room, such as a dental nurse, is to undertake the exposure on behalf of the referrer, then they must also be positive that they have the correct patient and correct examination.

The signature/initials of the operator undertaking the exposure must be recorded on the referral (state where on the referral) or by another method e.g. electronic

#### 1.2	 When the operator undertaking the exposure is not the referrer

When a patient is called from a waiting area or room by an entitled operator who was not the referrer, the following identification process must be carried out.

Where possible, the operator must ask the patient to give the 3 identifiers. The procedure must be positive and active i.e.

“What is your name?”

“What is your address?”

“What is your date of birth?”

If the patient is deaf these questions can be asked using written cards.

On completion of this the operator must verify that this patient identification procedure has taken place by entering their name/ signature/initials on the referral form (state where on the referral) or by another method e.g. electronic to enable them to be identified.

If the patient through illness, physical or mental disability, or language barrier is not able to confirm

his/her identity:

- Always treat them with dignity and respect

- A carer or relative may be asked to identify the patient if they are escorted

- Examine any personal photographic identification they may have such as a passport or photocard driving licence

- For patients with language difficulties, the operator may identify the patient through an interpreter if one is available

- When possible,  the referrer may be asked to confirm the identify of the patient

When the patient is unable to identify themselves the method used to confirm patient identity should be recorded. The operator must verify the patient identification procedure as above adding which method of identification was used.

If there is any doubt about the patient's identification, the operator must not carry out the radiation exposure.

2. 	 Differences between patient identifiers

If one aspect of the patient identifiers does not correspond between the referral and the information obtained, but the operator is sure it is the correct patient, e.g. one digit different in date of birth or different address (old address), then the operator may use their professional judgement and the details may be changed. Clerical staff should be informed of the change to allow this to be changed on the patient’s dental record.

| EP 5 | ## Pregnancy Enquiries | XXXXX Dental Practice |
| --- | --- | --- |

### 1.	Making enquiries

Within XXXXX Dental Practice, we currently do not undertake any radiographic examinations where the foetus will be exposed to the primary beam of radiation.

Dental radiographic imaging is by general professional consensus not damaging to a developing foetus. Consequently no formal pregnancy enquiries are required under IR(ME)R.

| EP 6 | ## Assessment of Patient Dose | XXXXX Dental Practice |
| --- | --- | --- |

### 1.	The process for recording factors relevant to dose

### All operators initiating a dental exposure should adhere to the standard settings as laid out in the dental practices exposure charts, unless further optimisation is possible or necessary. Only if these standard settings are deviated from is it necessary that the actual settings used be individually recorded e.g. kV and time (s).

### These, along with the total number of exposures must be recorded in the patient’s notes/ within the radiographic image quality log/ electronic record by the operator that undertook the exposure. This will include the reason for carrying our any repeat exposures. In addition the reasons for significantly exceeding any DRLs should be recorded (see EP7)

The operator undertaking the exposure will be aware of the range of doses or DRLs that result from the exposure factors set within the protocols.

The employer will implement a programme for carrying out patient dose surveys in consultation with the MPE.

| EP 7 | ## Diagnostic Reference Levels | XXXXX Dental Practice |
| --- | --- | --- |

### 1.	The process of establishing DRLs

DRLs provide standard values of dose that are derived from a dose audit. They are typical values for typical examinations of average size patients.

- The DRLs will be set by the employer in consultation with the Medical Physics Expert, as laid out within their contract/based on recent national dose surveys  and will be subject to an audit every 3 years

- Current DRLs will be made available by the relevant x-ray machine/in the Radiation Protection File

- Once set these DRLs are not expected to be exceeded when good and normal practice regarding diagnostic and technical performance is applied.

#### 2.	Using DRLs

#### The operator undertaking the exposure, when possible, must ensure that after each exposure any dose information is considered in relation to the DRL.

#### 2.1	Dose information available

#### If following each exposure, the dental x-ray machine provides a DAP value or some other dose indicator this should be reviewed by the operator with regard to the appropriate DRL.

#### If the DRL is exceeded it should be recorded along with any extenuating circumstances in designated book or electronic record. If the DRL is found to be consistently exceeded the reasons must be investigated immediately.  The operator must inform (the employer/line manager/RPS/MPE) as soon as they are aware that the DRL is being consistently exceeded.

2.2	No dose value available

#### If following each exposure, the dental x-ray machine does not provide a DAP value or other dose indicator, it is not possible to consider the dose with regard to the DRL. However there are some reassurances that the intended dose has been given depending on the image acquisition method.

- CR or DR images

The resultant image includes a Sensitivity/Exposure Index or graph. This will be compared the manufacturers recommendations. If the value/graph is unexpectedly outside the recommended range then the RPS/lead dentist will be informed and further tests may be made.

- Film

The amount of radiation reaching the film may be assessed by evaluating the image quality. If the chemistry is known to be correct and the film is too dark, then it may be that too much radiation is being emitted and therefore the DRL may be exceeded. The RPS/lead dentist will be informed and further tests may be made if necessary.

### 3.	Reviewing DRLs that are consistently exceeded

#### The MPE, RPS or operator must inform the employer as soon as they are aware that the DRL is being consistently exceeded.

If the DRL is believed to be consistently exceeded (either as identified by the MPE, operator or RPS) the reasons must be investigated immediately by the employer/named person/MPE so that corrective action may be taken.

Any corrective action should be documented and communicated to relevant staff.

| EP 8 | ## Clinical Evaluation | XXXXX Dental Practice |
| --- | --- | --- |

### 1.	The process of recording a clinical evaluation

Following a dental exposure each image must be clinically evaluated by the dentist and the findings documented in the patient’s dental record or electronic record/notes page of R4.

This evaluation of the whole image shall include:

- The identity, either signature or initials of the operator undertaking the evaluation

- The details of all findings including

  - Charting of caries

  - Findings relevant to the patients management or prognosis

  - No abnormality detected

In the case of a pre-extraction radiograph, it may be sufficient to record either ‘root form simple’ or ‘nothing abnormal diagnosed’.

### Clinical evaluation of radiographs taken on patients from other practices

Referrers from external practices may also be entitled as an operator for clinical evaluation. Their entitlement is as a referrer is dependent on them providing and recording a competent clinical evaluation on all images returned to them from this dental practice.

XXXX Dental Practice can take no responsibility for the competence of the clinical evaluation of these images; however we retain the right to include a check on whether these images are being properly evaluated in our clinical audit programme under the Regulations.

| EP 9 | ## Reducing the Probability and Magnitude of unintentional exposures (inc. incident reporting) | XXXXX Dental Practice |
| --- | --- | --- |

### 1.	Process

The XXXXX Dental Practice will reduce the risk of unintended exposures by adopting the following

- Employers procedures and protocols will be in place and regularly reviewed to ensure they match local practice

- All equipment will regularly undergo quality assurance to ensure it is functioning correctly

- Additional equipment QA checks carried out if over 10% of images are deemed unacceptable

- Feedback will be given to Dental professionals following any incident

- Training and competence assessments will be undertaken including when new equipment and procedures are introduced

- Induction programmes for new staff

- Grading and review of quality of dental images

- Clinical audit

- Audit of procedures

- Good practice and technique applied

- Peer review of images – looking at image quality to include positioning, collimation, density, sharpness and exposure

All duty holders will comply with the employer’s procedures.

Practitioners and operators will cooperate to ensure that the doses arising from an exposure are kept as low as reasonably practicable consistent with the intended purpose.

The XXXXX Dental Practice will also reduce the risk of unintended exposures by investigating all near miss and actual incidents using following procedure.

### 2.	Internal incident and near miss reporting

If it is suspected that an unintended patient exposure, overexposure or near miss has occurred, the individual who discovered the error shall record the following information on an incident form/other method of recording and provide it to the employer/RPS:

- The age and demographic details of the patient

- The x-ray machine settings, the kV and mAs and dose area product (DAP)  (if known)

- Any other relevant information e.g. error codes, time for which the exposure appeared to continue, or unusual signals

- What happened and why

- Any other relevant information

If it is suspected that the incident is due to an equipment malfunction, the equipment must be withdrawn from use and other staff notified. Warning signs should be placed on the faulty equipment. The equipment must not be reused until the reason for the incident has been clarified. Call the equipment service engineer or RPA for assistance if necessary.

3. 	Near miss and incident investigation

Named person or the employer shall assemble evidence to determine what events lead to the near miss or incident and to allow the dose to be calculated in consultation with the MPE or RPA. The report from this investigation shall include details of what happened and why, the dose assessment, whether the patient has been informed, what actions have been taken to minimise the risk of a similar incident occurring in the future and any other recommendations.

If advised that the incident is reportable by the MPE or RPA, the (Named person or employer or MPE/RPA) will inform the RQIA.

Regulations require that incidents involving a exposure of a patient to a radiation dose ‘much greater than intended‘ are reported to the Health and Safety Executive (HSE) if they are due to an equipment fault (IRR99) or the RQIA if they result from an error or procedural failure (IR(ME)R). For medical exposures in dentistry; see the HSE and DH website or consult your RPA or MPE, for information on what constitutes much greater than intended.

4.	Records and learning

(Named person or employer) shall place copies of the incident report in the Radiation Protection file and the patient’s dental/electronic records. This report shall be retained for at least 2 years if it was not much greater than intended. If the incident was reportable to the RQIA a record must be kept for at least 10 years. For incidents reported to HSE a record must be kept for at least 50 years.

Any lessons arising or changes to practice following the investigation will be implemented to ensure that the risk is minimised in the future. Relevant staff will be informed of all incidents, any lessons arising from the investigation and any changes to practice by e-mail, staff meeting or handover book.

Incident reporting flowchart

| EP 10 | ## Document Quality Assurance | XXXXX Dental Practice |
| --- | --- | --- |

## Objectives

- To ensure appropriate document control for all IR(ME)R documents

- Responsibilities

The employer will ensure that the Employer’s Written Procedures and written protocols are reviewed every 3 years or sooner if practice changes or new equipment is installed. These will have unique numbers, for example Employer’s Written Procedures EP1 etc, and for written protocols PRO1 etc.

If a procedure or protocol changes it is the responsibility of the Authoriser to inform all relevant staff.

The author of a document is responsible for the content whilst the Authoriser is responsible for ensuring the document is in place.

### 3.	Document control

Each document shall be uniquely identified.

3.1	Employer’s procedures will display the following front page

| ## XXXXX Dental Practice Employers Procedures Written Procedures for Medical Exposures |  |
| --- | --- |
| ## Author |  |
| Version Number |  |
| ## Authorised by |  |
| Issue Date |  |
| ## Reviewer |  |
| Review Date |  |

- Each individual procedure will display a header e.g.

| EP 1 | ## Entitlement of Duty Holders | XXXXX Dental Practice |
| --- | --- | --- |

Each individual procedure will also display a footer of

IR(ME)R Employers procedures                        	Version 1                               	 Page 2 of 21

- 3.2 	Written protocols and other IR(ME)R documents

- These will display a header and footer, examples given below.

- Header

| PRO1 | ## Protocols for dental radiographs | XXXXX Dental Practice |
| --- | --- | --- |

- Footer

| Issue Date: | Version No. | Authorised by | Author | Review date: | Page 2 of 4 |
| --- | --- | --- | --- | --- | --- |

  - Document holding and control

All employer’s written procedures and written protocols shall be available to all practice staff and contained in the radiation file.

All duty holders must comply fully with employer’s written procedures, and appropriately with written protocols (allowing appropriate latitude for professional judgement), so each employee is responsible for ensuring that they are working to the current version of these procedures and protocols (which may be printed for convenience).

| EP 11 | ## Audit | XXXXX Dental Practice |
| --- | --- | --- |

### 1.	Process

The employer will ensure that an audit program is in place to outline the methods to be used to carry out each audit. The audit program will describe the person responsible for carrying out each of the audits, the standards, criteria, timescales and details of the audit process.

The audit programs can be found in the audit file/electronic folder.

The employer will feed back the results of the audits to the relevant staff.

The following audits shall be undertaken at XXXXX Dental Practice (amend as appropriate):

- Assurance that all procedures and protocols are within date and will be reviewed by the review date

- An audit of duty holders’ entitlement along with their supporting qualifications and training. This audit should ensure that their entitlement matches the duties performed and that it is supported with evidence of training and continuing professional development

- An audit of referrals and their reports to ensure that each referral has been documented in line with EP2 and that a clinical evaluation has been carried out in line with EP8. This will ensure that the referrer, practitioner and operator for each exposure can be identified

- An audit of patient dose should be undertaken 3 yearly by the MPE.

- An overview of all near miss and incident reported in the last 12 months including outcomes

- Review of image quality and any repeat exposures

- An audit to ensure that research exposures have been taken in line with EP12

- An audit to ensure that medico-legal exposures have been taken in line with EP13

| EP 12 | ## Research Exposures | XXXXX Dental Practice |
| --- | --- | --- |

No research exposures are currently undertaken at XXXX Dental Practice

In which case please delete the rest of EP12

### 1.	Process

The employer will ensure that systems are in place to inform any practitioner and operator who might be involved in an exposure, that patients may be part of a research study when they are referred for imaging. This will be communicated by e-mail/staff meeting/ handover book.

It is the responsibility of the individual practitioner for a research study to ensure that every request is justified. Special attention is required for the justification of exposures that have no direct benefit for the individuals undergoing the exposure.

A protocol for each research project will be written by the research practitioner and be made available to all operators in the research folder/ electronically.

The Practitioner shall ensure that operators are aware that a request is part of a research study.

- Operators must follow the research protocol specifically developed for the research study

- Operators must report to named person/their line manager any instances where exposures are being made for research purposes where this has not been clearly indicated on the request or if they suspect that the study has not been approved

- The clinical evaluation must be performed by an appropriately entitled operator, and reported through appropriate communication arrangements

### 2.	Patient consent

All potential participants must receive a written explanation of the research programme and its risks and have the opportunity to discuss these with a responsible person before agreeing to take part. The explanation must make clear that treatment will not be prejudiced by failure to take part.

All individuals taking part in a research programme do so voluntarily. Each participant will sign a statement indicating that the whole procedure has been properly explained, that they voluntarily undertake the procedure and are aware of the risks including those from the radiation exposure.

| EP 14 | ## Medico-Legal and ## Occupational Health Exposures | XXXXX Dental Practice |
| --- | --- | --- |

No medico-legal or occupational health exposures are undertaken at XXXX Dental Practice

In which case please delete the rest of EP13

### 1.	Process

Medico-legal referrals are those examinations performed for insurance or legal purposes of any kind without a medical indication, for example:

- Assessment of accidental injury for legal or insurance purposes

- Assessment of non-accidental injury

- Identification of drugs or other evidence that may be concealed within a dental cavity

Please delete or add any other types of medico-legal exposure here

- Referrals for medico-legal examinations must be clearly identified and must be justified by a dentist.

No person shall carry out a medico-legal exposure unless it complies with the employer’s procedure for such exposures

An occupational heath surveillance exposure means medical surveillance for workers.

- Dental  radiographs prior to working on an oil rig where there are no dental provisions although the patient may be asymptomatic at the time for the purposes of work

- Dental radiographs for military personnel/flight crew for the purpose of employment

- Dental radiographs for deep sea divers

Please delete or add any other types of occupational health surveillance exposure here

The dental radiographic history of each patient attending for medico-legal or occupational heath surveillance examinations should be checked by the dentist and recent similar examinations should be taken into account. For instance it may not be necessary to complete a whole series of radiographs if some have been taken recently.